## Slide 1
Size-Exclusion Chromatography
Gel permeation chromatography (GPC)
http://www.waters.com/waters/en_TH/Size-exclusion-chromatography-%28SEC%29-Gel-Permeation-Chromatography-%28GPC%29-Guide/nav.htm?cid=10167568&locale=en_TH

## Slide 2
Cross sectional view of porous particle
https://www.studyread.com/gel-permeation-chromatography/

## Slide 3
The Size Separation Mechanism

## Slide 4
Schematic of a basic gel permeation chromatograph
Consideration
Mobile phase
Sample preparation
Column
Solvent delivery system (pump)
differential refractometer (RI)

## Slide 6
Capillary electrophoresis
http://zimmer.csufresno.edu/~davidz/Chem106/ModZoo/ModZoo.html

## Slide 8
Figure 4: Depiction of the interior of a fused-silica gel capillary in the presence of a buffer solution.

## Slide 10
Figure 5: Flow profiles of laminar and electroosmotic flow.

## Slide 12
http://zimmer.csufresno.edu/~davidz/Chem106/ModZoo/ModZoo.html