## Slide 1
Mass Spectrometry

## Slide 2
Mass spectrometry is an analytical technique that produces spectra of the masses of the atoms or molecules comprising a sample of material.
Mass Spectrometry

## Slide 3
Mass Spectrometry

## Slide 4
Sample Inlet System
Capillary Inlet
http://www.angloscientificinstruments.com/inlets.htm

## Slide 5
Membrane Inlets
Sample Inlet System
http://www.angloscientificinstruments.com/inlets.htm

## Slide 6
Sample Inlet System
Batch Inlet
http://www.angloscientificinstruments.com/inlets.htm
6

## Slide 7
Sample Inlet System
7

## Slide 8
Simplified schematic of a mass spectrometer
Mass Spectrometry
8

## Slide 9
 Thermospray Ionisation (TSP)
Ionisation methods include the following:
 Atmospheric Pressure Chemical Ionisation (APCI)
 Chemical Ionisation (CI)
 Electron Impact (EI)
 Electrospray Ionisation (ESI)
 Fast Atom Bombardment (FAB)
 Field Desorption / Field Ionisation (FD/FI)
 Matrix Assisted Laser Desorption Ionisation (MALDI)

## Slide 10
Electron Ionization (EI) Analysis
http://departments.agri.huji.ac.il/zabam/Polaris-Q.html

## Slide 11
Scheme 1. Some of the ion formation reactions that can occur in EI.

## Slide 12
การเกิดไอออน

## Slide 13
M + [Reagent gas + H]+ --> [M + H]+ + Reagent gas M + [Reagent gas - H]- --> [M - H]- + Reagent gas
Chemical Ionization CI) Analysis
http://www.noble.org/plantbio/sumner/ionization-technique/

## Slide 14: Mass Analyzer
A mass analyzer is the component of the mass spectrometer that takes ionized masses and separates them based on charge to mass ratios and outputs them to the detector
There are four general types of mass analyzers that can be used for the separation of ions in a mass spectrometry.
28.031,28.019,28.006,27.995

## Slide 15
A Quadrupole is a mass analyzer that uses an electric field to separate ions.
Quadrupole Mass Analyzer

## Slide 16
Quadrupole Mass Analyzer
http://x-tronix.info/2011/10/26/residual-gas-analysis-rga.aspx

## Slide 17
TOF (Time of Flight) Mass Analyzer
http://www.docbrown.info/page04/4_71atomMSintro.htm

## Slide 18
TOF
V : ความเร็ว
e : ประจุ
V : ศักย์ที่ใช้เร่ง
m: มวล

## Slide 19
ตัวอย่างที่ 1
ทายม์ออฟไฟลท์สเปกโทรมิเตอร์เครื่องหนึ่งมีระยะทางที่ไอออนเดินทาง (flight tube) 93.0 ซม. ศักย์ที่ใช้เร่ง 2350 โวลต์ จงหาเวลาที่ไอออน CH2OH+ เดินทางผ่าน
ตัวอย่างที่ 2
จงหาผลต่างของเวลาในการเดินทางของไอออน CH2OH+ และ CH3OH+ โดยใช้ข้อมูลจากตัวอย่างที่ 1
กำหนดให้ 1 เอิร์กต่ออีเอสยูเท่ากับ 300 โวลต์
1 นิ้วเท่ากับ 2.54 ซม.
ประจุอิเล็กตรอน เท่ากับ 4.80 x 10-10 อีเอสยู

## Slide 20
http://www2.chemistry.msu.edu/faculty/reusch/VirtTxtJml/Spectrpy/MassSpec/masspec1.htm
http://www.chemguide.co.uk/analysis/masspec/howitworks.html
Sector: Magnetic Sector Mass Analyzer

## Slide 21
Single Focusing Analyzer

## Slide 22
http://www.massint.co.uk/AutoConcept.html
Double-Focusing Analyzers
Sector: Electrostatic Sector Mass Analyzer

## Slide 23
Nier-Johnson

## Slide 24
แมสสเปกโทรมิเตอร์เครื่องหนึ่งมีค่าศักย์ไฟฟ้าคงที่ที่ 2000 โวลต์ รัศมีทางเดินของไอออนมีค่าคงที่ 7.00 นิ้ว จะต้องใช้สนามแม่เหล็กเท่าใด เพื่อโฟกัสไอออนบวกของคาร์บอนไดออกไซด์ (m/e = 44)
กำหนดให้ 1 เอิร์กต่ออีเอสยูเท่ากับ 300 โวลต์
1 นิ้วเท่ากับ 2.54 ซม.
ประจุอิเล็กตรอน เท่ากับ 4.8 x 10-10 อีเอสยู
ตัวอย่างที่ 3

## Slide 25
Faraday cup

## Slide 26
The ions enter the cup through the aperture on the right. An electron suppression plate surrounds the ion entrance aperture and keeps secondary electrons emitted from the impacted surface within the confines of the device. Adapted from the public domain figure provided in the wikipedia entry on "Faraday cup."

## Slide 27
The Electron Multiplier

## Slide 29
FRAGMENTATION PATTERNS
Aliphatic Hydrocabon : m/e = 41, 43, 55 and 57

## Slide 31
Alkene and doubly bonded heteroatom
R-CH2-CH=CH2
+CH2-CH=CH2
R=CH=CH=CH2+
-H
CH3-C-CH2-CH3
O
CH3-C+
O
+ CH3CH2
m/e = 43
+C-CH2-CH3
O
+ CH3
m/e = 57

## Slide 32
Aromatic Compounds
เบนซีนจะสูญเสียไฮโดรเจน 1 อะตอม m/e = 77

## Slide 34
On this scale, the most abundant ion, called the base peak
http://chemwiki.ucdavis.edu/Organic_Chemistry/Organic_Chemistry_With_a_Biological_Emphasis/Chapter__4%3A_Structure_Determination_I/Section_4.4%3A_Mass_Spectrometry

## Slide 35
จบการบรรยาย

## Slide 36
Extractive Electrospray Ionization (EESI)
http://www.zenobi.ethz.ch/eesi.html